## Instructions Use
SAFETY IN DESIGN WORKSHOP TEMPLATE - INSTRUCTIONS FOR USE
Application & Interpretation | 1. | It is the responsibility of the users of this Template to ensure that the application of information is appropriate and that any designs based on this Template are fit for SA Water’s purposes and comply with all relevant Australian Standards, Acts and Regulations.
| 2. | Users of this Template accept sole responsibility for interpretation and use of the information contained in this Template. Users should independently verify the accuracy, fitness for purpose, and application of information contained in this Template.
| 3. | Only the current version of this Template should be used which is available for download from the SA Water website.
Purpose | 1. | For use by SA Water to document SiD Hazards for designs undertaken by SA Water employees.
| 2. | For use by 3rd parties to SA Water (e.g. contractors working for SA Water, etc.) to document SiD Hazards for designs undertaken by them for SA Water.
Instructions / Information for Users
Record Keeping and Version Control
| 1. | Where a SiD Hazard Register for a project/design has not already been established one is to be established to capture the SiD Hazards throughout an assets life cycle
| 2. | Saving the SiD Hazard Register and Version Control: The SiD Hazard Register is to be updated at each of the SiD Hazard Review Workshops and as a minimum at each project gate.
| 3. | All SiD Review outcomes shall be recorded in the SA Water SiD Hazard Register template in Microsoft Excel® format. All SiD Review documents returned to SA Water from a 3rd party designer shall be provided in the SA Water SiD Hazard Register template in Microsoft Excel® format.
| 4. | All SiD Hazard Register spreadsheets shall be identified using the following naming convention: “xxx - SiD Hazard Register - yyy”. Where: • xxx = Maximo Asset ID number • yyy = project number and site/project name Examples: • MA3235 – SiD Hazard Register – C4857 Marabel PS • LIPWTP090606 – SiD Hazard Register – C5833 Little Para WTP Alum Dosing Upgrade SiD Hazard Review 1 Hazard Register, reviewed and approved shall be saved as V1.0. When updates or close out of SiD actions occurs the Hazard Register is to be saved as minor version e.g. v1.1, v1.2. SiD Hazard Review 2 Hazard Register, reviewed and approved shall be saved as v2.0. When updates or close out of SiD actions occurs the Hazard register is to be saves as minor version e.g. v2.1, v2.2 etc
| 5. | SiD records for all SA Water assets shall be filed, at each milestone, in SA Water’s SharePoint® filing system “RIVER” in the SiD workspace.
Register History
| 1. | General: This worksheet should be used to document the details for each SiD Worksop in accordance with SA Water documents TS 101
| 2. | Site: The name of the site where the design is located. For standard designs state "Standard Design"
| 3. | Project Number: record the applicable the project number(s)
| 4. | Maximo Asset Number: Design Asset Number when known
| 5. | Date & Phase: The "date" and SiD Workshop Stage ,"Phase", are linked as selectable dropdowns in the SiD worksheet to "connect" the two processes.
| 6. | Project Details: "Project Details" should be used to record the reason that the SiD Workshop has been initiated. As an example, this could be upgrade works as part of a capital project or modifications made by operations staff. The details added should give enough detail to identify why the SiD Workshop was conducted.
| 7. | Attendees: The personnel who attended each SiD Workshop should be recorded and this should be kept as a record of those who consulted and participated in the assessment.
Workshop Attendees (SiD 1-3)
| 1. | General: The details from the Register History worksheet will automatically populate in the workshop attendees sheet.
| 2. | This page has been provided to record attendees and it can be printed and signed by all attendees at the assessment workshops.
| 3. | It is recommended that the signed attendance sheet is scanned and the digital image inserted into this worksheet as a record.
Hazard Register
General
| 1 | This worksheet is to be used to record all hazards identified for an SA Water asset from the initial design phase onward.
| 2 | This is a "live" document what will continue to be used throughout the life of the asset.
| 3 | The HAZID section is intended for initial/early identification of possible hazards. All hazards identified in this section (i.e. 0.xx) should be translated into specific activity hazards from SiD 1 onwards.
| 4. | Hazard Details Section (Columns B-L): In this section the hazard is identified. Complete the hazard details using the notes as guidance the Hazard ID is a unique identifier that is not to be changed and will follow the hazard through the project and into life of the asset.
| 5. | Hazard Elimination / Reduction SFAIRP Section (Columns M-P): This section is to capture the details related to eliminating the hazard SFAIRP or reducing SFAIRP using the notes as guidance.
| 6. | Action Required (Columns Q-X): This section captures the actions required and progress status the identified hazard. The notes can be used for guidance for completion.
Parked Items
This tab is to be used to capture points of discussions that were parked while the SiD Hazard Review continued. These items should be actioned appropriately.
Prompts
| 1. | This sheet contains the dropdown list data for the "Worksheet".
| 2 | Insert a copy of any project specific prompts that were used.
Document Controls
| 1. | The Document Controls Tab is a worksheet intended to document the control of the template. It is not to document SiD Hazard Register Control this is done through the Register History Tab.

## SiD Register History
SAFETY IN DESIGN HAZARD IDENTIFICATION & WORKSHOP PARTICIPANT DETAILS
Site: | The name of the site where the design is located. For standard designs state "Standard Design"
Details: | Project Details
Project Number (if applicable): | Record the applicable project number
Maximo Asset Number: | Maximo Asset Number when known
Date | Phase | Project Details (If Applicable) | Attendees
e.g.01/01/2000 | Lessons Learned
e.g.02/01/2002 | HAZID
e.g.01/03/2003 | SiD Hazard Review 1 - Concept
e.g.12/04/2003 | SiD Hazard Review 2 - Detailed / Construction
e.g.01/03/2004 | SiD Hazard Review 3 - Post Construction
e.g. 10/05/2009 | Operations

## SiD 1 Workshop Attendees
SAFETY IN DESIGN 1 WORKSHOP ATTENDANCE SHEET
Add scan of attendance sheets here
Site: | The name of the site where the design is located. For standard designs state "Standard Design"
Details: | Project Details
Project Number (if applicable): | Record the applicable project number
Maximo Asset Number: | Maximo Asset Number when known
Date:
NAME | COMPANY | Role | Responsibility relating to Project | SIGNATURE

## SiD 2 Workshop Attendees
SAFETY IN DESIGN 2 WORKSHOP ATTENDANCE SHEET
Add scan of attendance sheets here
Site: | The name of the site where the design is located. For standard designs state "Standard Design"
Details: | Project Details
Project Number (if applicable): | Record the applicable project number
Maximo Asset Number: | Maximo Asset Number when known
Date: | e.g.12/04/2003
NAME | COMPANY | Role | Responsibility relating to Project | SIGNATURE

## SiD 3 Workshop Attendees
SAFETY IN DESIGN 3 WORKSHOP ATTENDANCE SHEET
Add scan of attendance sheets here
Site: | The name of the site where the design is located. For standard designs state "Standard Design"
Details: | Project Details
Project Number (if applicable): | Record the applicable project number
Maximo Asset Number: | Maximo Asset Number when known
Date:
NAME | COMPANY | Role | Responsibility relating to Project | SIGNATURE

## Hazard Register
SAFETY IN DESIGN WORKSHOP ASSESSMENT
| Site: |  | The name of the site where the design is located. For standard designs state "Standard Design"
| Details: |  | Project Details
| Maximo Asset Number: |  | Record the applicable project number
| Project Number/s |  | Maximo Asset Number when known
| Date: |  | e.g. 02/01/1999
| Hazard ID | HAZARD DETAILS | [8 empty] | Hazard Elimination / Reduction SFAIRP |  |  |  | Action Required
| Hazard ID | Reference Information (e.g. Drawing) | Date Identified | Source (SID Review) | Life Cycle Phase | Activity / Task | Routine / Non-routine | Hazard Category | Details of Hazard Exposure | Do credible cause and consequence exist for this hazard? (Yes/No) | Current Controls | Proposed Controls | Control Method (Hierarchy) | Reasonably Practicable Category | Action Details / Options Considered / Status | Date Last Reviewed/ Updated | Responsible Company | Responsible Individual (or Role) | Due For Completion | Action Status (not started, open, closed) | Hazard Reduced SFAIRP (Y/N) | Responsible Authority
NOTES | Unique Hazard ID number for reference | Point of reference for hazard | Date identified | e.g. HAZID Lessons learned SiD Review 1 SiD Review 2 SiD Review 3 HAZOP CHAZOP Design review | In which phase/s is the hazard present. -Operations -Maintenance -Outage -Demolition -Construction -Commissioning -etc. | Detail the activity taking place where interface and hazard exist. Activity (Operations, maintenance, outage, construction) schedules and plans can be used to identify interfaces. Can include environment and plant interfaces | Is the task a one off, seldom completed activity or an often performed or routine task | Name the Hazard (suggestions in cell dropdown below) | Details of the hazard such that someone not present at the workshop can comprehend. | Is this a credible hazard? Ask: Is there a cause and consequence? If there is no cause there can be no consequence, the cause is irrelevant | What is already in place to address this (if known)? | Describe design changes required or further control(s) to be applied using the hierarchy of control | Hierarchy of controls applied Elimination, Substitution, Engineering, (less effective, Administration& PPE) | a)Just do it, because it is inexpensive and provides safety benefit b) the means is grossly disproportionate to the safety benefit throughout life of asset, c) further analysis required to make judgement, more information required. | Details of actions required, any findings and information on the action taken | Recording date when the hazard and action where last visited | Company responsible for the action | Person / Role responsible for execution of the action | Specific date or phase of project action to be completed by. e.g. 14/1/2018 Detail design phase (30%) | Status of action -not started -open -closed | Has the hazard been reduced SFAIRP? Yes / No | Name of persons
| 0 | DRW XXX-YY-ZZZZ # FT1004 Chlorine dosing system flow meter FT1004 | 2018-01-01 | Operator comment and Issues Register | Outage / Maintenance | Cleaning flow meter FT1004 | Routine | Access and Egress | When accessing flowmeter FT1004 to rod out during maintenance / outages the adjacent pipework is too close exposing worker to impact or pinching hazards on adjacent pipework. | Yes | Cleaning tool has retractable / extendable handle, with minimum length of 25cm. | Pipework layout adjustment to allow 30cm between discharge of flow meter and pipework | Engineered | a) just do it | Pipe layout around FT 1004 to be modified to allow for the extra clearance between flowmeter discharge and adjacent pipework. Pipework cannot be completely removed due to limited possible routes. 3/1/2018 (JB): Pipe work layout adjusted to allow clearance (1m) for cleaning of flowmeter. | 2018-01-03 | SA Water | Lead Designer- Jo Blogs | 70% Design (15/1/2018) | Closed | Y | Jo Blogs
Hazard Identification (HAZID, Lessons Learned etc.)
| 0.01 |  |  |  | Construction | Excavation of site for underground works and surface preparations | Non-Routine | Excavation | During excavations of pipe/cable routes or pad construction exposure to underground power and other equipment. | Yes | A survey of the site for location of underground equipment has occurred.
0.02
0.03
0.04
0.05
0.06
0.07
0.08
0.09
0.1
| SiD Review 1 | Insert or delete rows as required
| 1 |  | 2018-05-11 | SiD Review 2
1.01
1.02
1.03
1.04
1.05
1.06
1.07
1.08
1.09
1.1
1.11
1.12
1.13
1.14
1.15
1.16
1.17
1.18
1.19
1.2
1.21
1.22
1.23
1.24
1.25
1.26
1.27
1.28
1.29
1.3
1.31
1.32
| SiD Review 2 | Insert or delete rows as required
2.01
2.02
2.03
2.04
2.05
2.06
2.07
2.08
2.09
2.1
| SiD Review 3 | Insert or delete rows as required
3
3.01
3.02
3.03
3.04

## Parking Lot
SAFETY IN DESIGN WORKSHOP Parked Items
Site: | The name of the site where the design is located. For standard designs state "Standard Design"
Details: | Project Details
Project Number (if applicable): | Record the applicable project number
Maximo Asset Number: | Maximo Asset Number when known
Date:
Raised by | Discussion point | Who is responsible for follow up

## Prompts
SAFETY IN DESIGN WORKSHOP GUIDE WORD & PROMPT LIST
Drop downs
Description/Phase | Method | Impact List | Responsible | Routine/non-routine | Reasonably Practicable Category | Status | SFAIRP
Lessons Learned | Eliminate | Design | Designer | Routine | a) Just do It | Not started | Yes
HAZID | Substitution | Construction | Constructor | Non-Routine | c) Further investigation | Open | No
SiD Hazard Review 1 - Concept | Isolation | Operations | SA Water - Operator |  | b)Grossly disproportionate | Closed
SiD Hazard Review 2 - Detailed / Construction | Engineering | Maintenance | SA Water - Maintainer
SiD Hazard Review 3 - Post Construction | Administrative | Commissioning | SA Water
Operations | PPE | Demolition
HAZARD IDENTIFICATION (HAZID) - PROJECT INITIATION PHASE
Access and Egress | How should people enter or exit the site or gain access to individual asset item?
Adjacent structures | How do structures adjacent to the design affect the design and/or how will the design effect things that surround? E.g. heat, light shadow, geotech stability, fire access
Asbestos | Could asbestos be present, including as material in existing buildings or piping on or adjacent to the site? Is asbestos contained or exposed with the possibility of dust formation?
Biological | Does the design use, produce or dispose of substances known to be biological hazards?
Carcinogens | Does the design use, produce or dispose of substances known to cause cancer?
Chemicals | Does the design use, produce or dispose of chemicals? Where chemicals are required has the design considered the appropriateness of the storage, access and spill requirements for the chemicals and/or the alternatives available that may be less harmful to both people and the environment?
Confined spaces | Are there confined spaces created by the design? Are they indicated on the drawings and are there alternative methods that can be developed/used to eliminate and/or reduce the impacts of confined spaces?
Constructability | Does the method of construction introduce hazards? What construction options are available?
Corrosion | Does the design consider corrosion due to either the environment or process and take into account materials selection to reduce the impact?
Construction interfaces | Does the site interface with other operating works?
Damage to existing assets
Drainage
Dust/fumes/vapours | Does the design include any substances that could lead to explosion, including gases, liquids or dust? Have sources of ignition been eliminated and monitoring systems been included?
Electrical safety
Ergonomics and Manual Handling | How do humans interact with the design? Are workstations or operator controls designed to allow ease of use for the human body?
Excavation | Are hazards such as excavations collapse being introduced?
Falling objects | Does the design include the possibility of objects being dropped from height? Has protection been included, including barriers to stop objects falling and covers to protect from objects that have fallen?
Fatigue | Does the design introduce fatigue issues?
Fire | Does the design include flammable or combustible materials? Have fire protection systems and fire fighting systems been implemented?
Fixed plant & Equipment | Does the design take into account the location of plant, clear working space and hazards introduced by the plant itself?
Flow | Does the design include any process that includes flow? Have hazards associated with too much flow, not enough flow or blockages been considered?
Formwork | Does the design include formwork during construction? Have hazards such as heights, slips & trips, engulfment & confined spaces been considered?
Ground conditions | Does the design take into account the general terrain & type of ground? Does it consider how the asset may alter the ground conditions?
Groundwater | Does groundwater produce the possibility of unstable ground or structural instability?
Hazardous substances/Dangerous Goods | Where chemicals are required has the design considered the appropriateness of the storage, access & spill requirements for the chemicals and/or the alternatives available that may be less harmful to both humans & the environment?
Heavy lifts/carnage | Can heavy lifts be removed or minimised? Is there sufficient room to allow access for cranes to operate?
Hot Works | Have construction methods and operation taken into account Hot Work issues?
Inspections | Does the design consider the necessity of inspections & allow for access, lighting, guarding etc.?
Interference between trades | Has the interaction between different trades during construction & operation been considered?
Laydown areas | Does the laydown area provide sufficient space to allow safe access to equipment & are laydown areas located where they provide short & unobstructed paths?
Lighting & visibility
Live services | Has sufficient lighting been provided to allow the design to perform as required & to allow personnel to operate the design as required?
Location | Has the design considered the location of the site itself in relation to the environment & other assets surrounding it? Have the locations of the assets within the design been considered with respect to each other & any existing assets already in place? Are different sections of a design compatible when located beside one another?
Maintain-ability | Has the design provided for maintenance of the asset with clear working space provided, lifting device/points provided & the risks such as electricity, heat, pressure & vibration eliminated or reduced as far as is practicable & that appropriate signage (warning, caution, danger) have been specified in the design?
Materials of construction | Does the design consider the selection of materials relative to the location of the asset (e.g. designed for bushfires?), construction technique required, maintenance requirements? Does the design consider opportunities to source materials through reuse or recycle options?
Mobile plant & Equipment | Has the movement of mobile plant (including vehicles) been incorporated in the design?
Noise | Does the design e.g. ceramic bearings, dampers, isolated, in require noisy processes to be used during construction & are there ways to eliminate and/or reduce these impacts by using construction methodologies? Has plant & equipment that creates noise been appropriately designed to reduce noise e.g. ceramic bearings, dampers, isolated, insulated, balanced to reduce vibration etc.?
Operations including work practices
Operations/Interactions | Does the design interface with existing assets?
Overhead/Underground services | Does the design consider potential impacts on existing services, access for construction, maintenance & operational vehicles, plant & excavation, & can the design be modified to eliminate and/or reduce the potential impact on existing services?
Piling | Have the hazards associated with piling been considered including impacts on surroundings? Hazards include the stability of the piling rig dropped weights, heights, excavations, noise & vibration.
Plant / vehicle movements
Plant isolation (physical and electrical)
Pollution/contamination/spills/emissions | Does the design consider pollution, contamination, spills & emissions or releases?
Safety factor | Does the design have a sufficient engineering over-design factor?
Slips/trips & falls | Does the design provide for uneven surfaces & clear walkways?
Sprays and leaks
Start-up/Shutdown | Does the method of start-up or shutdown of a process introduce any hazards such as isolations, ignition sources, pressure, gravity, speed or temperature?
Storage | Has storage requirements been incorporated into the design?
Structures | Does the design incorporate ease of construction & access when constructed?
Temperature
Temporary works | Does the design/specification detail temporary works requirements e.g. weights of components, temporary lifting points, permanent formwork vs conventional
Vibration | Have the effects of vibration on the human body & the surrounding assets been considered in the design?
Water | Does the design consider working in or above water? Have the hazards associated with stormwater been considered?
Welfare & Amenities
Working at height
Workplace conditions/extreme temperatures | Does the design address the vulnerability to extreme temperatures & provide adequate & appropriate methods to eliminate or reduce those impacts?
SID HAZARD REVIEW ASSESSMENT PROMPTS
HAZARD LIST
DESCRIPTION | MEANING
SIZE | SIZE
HEIGHTS | HEIGHTS / DEPTHS
POSITION | POSITION / LOCATION
ERGONOMICS | POOR ERGONOMICS
ACCESS | MOVEMENT / DIRECTION
MOVEMENT | LOAD / FORCE
FORCE | ENERGY
ENERGY | TIMING
TIMING | EGRESS / ACCESS
FAILURE | MAINTENANCE / REPAIR
ISOLATION | ENVIRONMENTAL CONDITIONS
CONDITIONS | EXTERNAL SAFETY INTERFACES
INTERFACES | TOXICITY
TOXICITY | FIRE / EXPLOSION
FIRE | ENVIRONMENTAL IMPACT
ENVIRONMENTAL | UTILITIES & SERVICES
DEMOLITION | COMMISSION / STARTUP / SHOWDOWN
DOCUMENTATION | SAFETY EQUIPMENT
Permits - HV,Rail, gas
Registration - pressure vessel, Confined space, other
Liscence - chemicals etc
NATURAL HAZARDS
INSPECTION / TESTING
DEMOLITION
DOCUMENTATION
QUALITY CONTROL
CONSTRUCTION EQUIPMENT
SIZE | HEIGHTS | POSITION | ERGONOMICS | ACCESS | MOVEMENT | FORCE | ENERGY | TIMING | FAILURE | ISOLATION | CONDITIONS | INTERFACES | TOXICITY | FIRE | ENVIRONMENTAL | DEMOLITION | DOCUMENTATION
Too large | Access / egress | Too high | Effect on PPE | # Entry/exit points | Compression | Additional loads - construction | Inertia / moment | Extended delays | Pipe Burst | Bypass | Extreme weather | Adjacent property | Asbestos | Emergency procedures | Effluent | Decommission | Emergency
Too small | Confined space | Too low | Manual handling | Size of Entry/exit points | Expansion | High / Excess | High | Incorrect sequence | Pipe Leak | Electricity | Ground Noise | Members of the Public | Chemicals | Fire protection | Hazardous chemical | Documentation | Inspection / testing
Too long | Falls | Too far | Too heavy | Walkways | Tension | Low insufficient | Low | Too late | Storage Tank Leak | Local | Hazardous areas | Power / services | Handling | Prevention | Seepage / waste | Ease | Maintenance
Too short | Falling/dropped objects | Too near | Posture | Obstructions | Reverse direction | Compressed Air | Potential / kinetic | Too early |  | Pumps | Temperature | Traffic | Confined Space | Detection | Vapours | Issues Documentation | Operations
Too wide | Scaffolding (shape, space to fit) |  | RSI / discomfort / fatigue / stress | Maintenance | Rollover | Rotating equipment | Vibration | Too short |  | Remote | Water | Vehicle collision | Ventilation |  | Dust | Disposal | Records / Reports
Too narrow | Working at heights |  | Slips | Operations | Rotation | Falling Objects | Fuel | Too long |  | Valves | Noise | Wildlife |  |  | Flooding |  | Sequence
|  |  | Trips | Disability | Stability | Thrust | Electricity |  |  |  | Sunburn | Other activities |  |  | Overflow |  | Liscenses - eg chemical, specialists etc
|  |  | Falls | Movements |  |  | Electric shock |  |  |  | Ventilation |  |  |  | Wind |  | Registration- eg pressure vessels, confined space,
|  |  |  | Lighting - sufficient | [10 empty] | Vibration |  | Permits - Rail, HV, HP Gas
|  |  |  | Lighting - location | [10 empty] | Ground Movement
|  |  |  | People Movement | [10 empty] | Earthquake
Equipment
Clearance - open doors
Confined spaces
Working at heights
Scaffolding
Slips
Trips
Falls
Note on A13: Lynton Donisthorpe:
Example of Additional Activity Prompts

## Haz.Promt A3 Print Friendly
SIZE | HEIGHTS | POSITION | ERGONOMICS | MOVEMENT | FORCE | ENERGY | TIMING | DOCUMENTATION | ACCESS
Too large | Access / egress | Too high | Effect on PPE | Compression | Additional loads - construction | Inertia / moment | Extended delays | Emergency | # Entry/exit points
Too small | Confined space | Too low | Manual handling | Expansion | High / Excess | High | Incorrect sequence | Inspection / testing | Size of Entry/exit points
Too long | Falls | Too far | Too heavy | Tension | Low insufficient | Low | Too late | Maintenance | Walkways
Too short | Falling / dropped objects | Too near | Posture | Reverse direction | Compressed Air | Potential / kinetic | Too early | Operations | Obstructions
Too wide | Scaffolding (shape, space to fit) |  | RSI / discomfort / fatigue / stress | Rollover | Rotating equipment | Vibration | Too short | Records / Reports | Maintenance
Too narrow | Working at heights |  | Slips | Rotation | Falling Objects | Fuel | Too long | Sequence | Operations
|  |  | Trips | Stability | Thrust | Electricity |  | Liscenses - eg | Disability
|  |  | Falls |  |  | Electric shock |  | chemical, specialists etc | Movements
[8 empty] | Registration- eg | Lighting - sufficient
FAILURE | ISOLATION | CONDITIONS | INTERFACES | TOXICITY | FIRE | ENVIRONMENTAL | DEMOLITION | pressure vessels, confined space etc | Lighting - location
Pipe Burst | Bypass | Extreme weather | Adjacent property | Asbestos | Emergency procedures | Effluent | Decommission | Permits - Rail, HV, HP Gas | People Movement
Pipe Leak | Electricity | Ground Noise | Members of the Public | Chemicals | Fire protection | Hazardous chemical | Documentation |  | Equipment
Storage Tank Leak | Local | Hazardous areas | Power / services | Handling | Prevention | Seepage / waste | Ease |  | Clearance - open doors
| Pumps | Temperature | Traffic | Confined Space | Detection | Vapours | Issues Documentation |  | Confined spaces
| Remote | Water | Vehicle collision | Ventilation |  | Dust | Disposal |  | Working at heights
| Valves | Noise | Wildlife |  |  | Flooding |  |  | Scaffolding
|  | Sunburn | Other Activities |  |  | Overflow |  |  | Slips
|  | Ventilation |  |  |  | Wind |  |  | Trips
[6 empty] | Vibration |  |  | Falls
Ground Movement
Earthquake

## Tempalte Document Controls
Version History
Version | Date | Author | Comments
1.00 | 2015-04-10 | L Donisthorpe
1.01 - INTERIM | 2018-03-22 | L Haigh
1.02 | 2018-04-03 | L Haigh | Updated from feedback during facilitator training
1.03 | 2018-04-17 | L Haigh | Updated from feedback
1.04 | 2018-04-19 | L Haigh | Updated following feedback
1.05 | 2018-05-09 | L Haigh | Updated following feedback
1.06 | 2018-06-05 | L Haigh | Updated following feedback
1.07 | 2021-06-16 | L Haigh | Update to include Registration, Liscenses and permits under the "document" prompt words.
Approvers
Role
Manager of Engineering Delivery
Robert Alaia
Manager Engineering Capital
Carl Franz
Senior Manager, Engineering
Richard Gray